## Slide 1: Parker Lewis Topic: SPHENIX EMCAL & HCAL TowerSlope Method 12/2/24

## Slide 2: Towerslope: Intro
The towerslope method is a relative calibration method that is part of sequential stages of calibrating towers.
Towerslope utilizes exponential like energy distributions to get the calibration factors.
The calibrating values needed are the p1’s.

## Slide 3: Example Of Method
The method works by first imputing the energy distribution histogram of a tower at one instance od time. (Red Curve)
The blue tower in simulation is an effective distribution at different t, of a tower that needs to be recalibrated.
Recalibration occurs by fitting based on data driven original function on tower adjusted to get calibration factors.

## Slide 4: Verification of Method
- A way to do a check if the method works for said tower is to do a division p1_no_shift/P1_shift and see if they get close to shift percentage with precision of data.

## Slide 5: What will be in Final Draft
RHIC and SPHENIX slide to give experiment and detector information. (1 slide)
Slide That introduces problem of calibration/Sphenix Calibration overview (1 slide)
Also fix up details in the final presentation.
More example and statistical properties of different ways how to test the towerslope method. (3-4 slides)